## Slide 1: CASToR reconstruction for 131 Iodine GATE Simulations
João Henrique Martins Castelo
Undergraduate student
Medical Physics Federal University of Rio de Janeiro, Brazil
Institute of Radiationprotection and Dosimetry, Rio, Brazil

## Slide 2
How to reconstruct images of data acquired from Monte Carlo simulations?

## Slide 3
GATE
GEANT4 APP FOR TE

## Slide 8
3D Dose Distribution

## Slide 10
Projections

## Slide 11
Possible path?

## Slide 13
0 0 0 1 1 1 0 0 0
0 0 0 1 0 0 0 1 0
0 0 1 0 1 0 1 0 0

## Slide 17
Simulated Experimental

## Slide 23
mac
data
output

## Slide 24
If the last line does not work, and it`s complaining about time slice, add those lines from the main macro in the SPECT macro.

## Slide 25
Global distance camera to surface to COR : 234.5

## Slide 27
22 SLICES

## Slide 28
64 SLICES

## Slide 29
What now?
Cubic voxel geometry asks for cubic reconstruction volume!

## Slide 30
Simulated Experimental

## Slide 31
Simulated Experimental

## Slide 32
ATTENUATION CORRECTION

## Slide 33
Simulated Experimental

## Slide 34
Simulated Experimental

## Slide 35
?

## Slide 37
Triple Energy Window

## Slide 38
ROOT-CASTOR does not have room for scatter info.

## Slide 39
But it exists at the direct conversion to cdF e cdH.

## Slide 41
How I save time

## Slide 42
hadd full.root split1.root split2.root splitn.root

## Slide 43
It`s easier to work on projections than ROOT files. (I think)

## Slide 44
Let`s code!

## Slide 48
Projections to cdH and cdF

## Slide 50
Simulated Experimental

## Slide 51
Simulated Experimental

## Slide 52
Reconstruction`s not perfect!
Is the code bad?

## Slide 53
Experimental CASToR Experimental Workstation

## Slide 54
% FWHM X (RefCastor/RefWorkstation) | % FWHM Y (RefCastor/RefWorkstation)
116.2 | 109.2

## Slide 55
% FWHM X (Simulado/Referência) | % FWHM X (Simulado/Referência)
28.2 | 49.9
Central window | 114.2 | 119.5
AC | 101.7 | 132.2
AC+SC | 182.8 | 75.7
Chart: FWHM Mean
 | 116.8808 | 116.9805 | 129.2204

## Slide 56
https://github.com/SimpleITK/SimpleITK/blob/master/Examples/DicomSeriesFromArray/DicomSeriesFromArray.py

## Slide 57
https://fiji.sc/
https://imagej.nih.gov/ij/plugins/fwhm/
Adrian-FWHM
http://www.med.harvard.edu/JPNM/ij/plugins/NucMed.html
NucMed

## Slide 58
Agradecimentos especiais
Igor Vieira CRCN
James Scuffham
ROYAL SURREY COUNTY HOSPITAL NHS FOUNDATION TRUST
Daniel Bonifácio IRD
T. Merlin CASToR
Uwe Pietrzyk GATE